## Slide 1: Electrocardiogram (ECG) is the electrical measurement of cardiac activity, whereas Photoplethysmography (PPG) is the optical measurement of volumetric changes in blood circulation. While both are used for heart rate monitoring, ECG is more useful from a medical point of view as it carries additional cardiac information. Unfortunately, ECG sensors are not as readily available as those of PPG. To solve this problem, using GANs to generate ECG from PPG signals was proposed. In our result the person correlation coefficient of the generated signal from PPG is up to 0.855. .
Keywords: ECG, PPG, GAN, Reconstruction
1.Abstract
Nowadays, healthcare has become a major focus. According to the World Health Organization (WHO), approximately 17.9 million people died from cardiovascular diseases (CVDs) in 2019, accounting for 32% of global deaths.[1] However, measuring ECG signals in a fast and simple way remains a challenge. The high cost and complexity of ECG devices, along with the need for trained professionals and multiple electrode leads, make remote healthcare difficult. On the other hand, devices like smartphones, smartwatches, and pulse oximeters offer easier access to data at lower prices, making them viable alternatives.
Generative Adversarial Networks (GAN) use a generator and a discriminator to produce realistic data samples. Previous studies using techniques like SEGAN and Transformer have certain limitations. For instance, some studies only focus on the QRS complex of the ECG waveform, overlooking other important components like PQRST waves associated with different diseases. Additionally, the training requirements of certain models, such as powerful servers, make them impractical for remote healthcare. To address these limitations, we propose a method that incorporates SEGAN as a bottleneck, dual discriminators, dilation, and attention mechanism to enhance the reconstruction process.
2.Introduction
The BIDMC dataset[4] is a collection of physiological signals and numbers. The dataset was collected from critically-ill patients during hospital care at the Beth Israel Deaconess Medical Centre (BIDMC) in Boston, MA, USA. The dataset includes 53 recordings of 8-minute duration, each containing:
Physiological signals: ECG, PPG, and impedance respiratory signal. These are sampled at 125 Hz.
Physiological parameters: heart rate (HR), respiratory rate (RR), and blood oxygen saturation level (SpO2). These are sampled at 1 Hz.
Fixed parameters: age and gender.
Manual annotations of breaths.
The BIDMC dataset is a valuable resource for researchers working in the field of biomedical engineering. In this experiment, the BIDMC dataset is primarily used for training and testing the effectiveness of reconstructing ECG signals from PPG data, and conducting overall analysis of the results.
3.Dataset
4.1 Data Preprocess
Firstly, we use a Chebyshev Type II bandpass filter with a frequency range from 0.05 to 15Hz to filter out noise from the PPG and ECG signals. This filtering process is necessary because signals below 15Hz result in the disappearance of PPG systolic peak features, and ECG signals lose the complete waveform of the PQRST waves.
4.2 GAN and Dual Discriminator
In this experiment, we use the SEGAN architecture, originally designed for speech enhancement, to generate high-quality ECG signals. We introduce a latent vector between the encoder and decoder, derived by downsampling the original signal. Each encoder convolution incorporates dilation mechanisms to capture temporal relationships in PPG or ECG signals. To improve signal quality, we employ a dual discriminator approach. The first discriminator compares the ground truth ECG signal with the reconstructed ECG signal from the paired PPG signal. The second discriminator uses Fast Fourier Transform to align frequencies in the ECG signal with those in the ground truth, minimizing discrepancies. Previous research has confirmed the effectiveness of this model, and its application to generating high-quality ECG signals holds great potential for tasks such as ECG analysis and medical research.
4.Methodology
Figure 1. Structure of Generative Model
5.1 Data Preprocess
5.Result
Overlap | RMSE | MS | MAE | Correlation
/ | 0.3760 | 0.1551 | 0.3017 | 0.4584
step = 5s | 0.2173 | 0.0529 | 0.1694 | 0.8257
step = 1s | 0.2046 | 0.0503 | 0.1605 | 0.8551
In this experiment, due to the limited number of subjects, the total number of samples available was approximately 700, which resulted in a lower overall accuracy. To address this limitation, we performed data augmentation using overlapped data with step lengths of 5 seconds and 1 second, while the testing was conducted using non-overlapping data.
Table 1. Data augmentation comparison
Method | RMSE | MSE | MAE | Correlation
w/o dilation | 0.2470 | 0.0696 | 0.1964 | 0.7914
dilation = 2 | 0.2046 | 0.0503 | 0.1605 | 0.8551
5.2 Dilation
Table 2. Dilation comparison
5.3 Different Attention
Table 3. Attention comparison
Attention | RMSE | MS | MAE | Correlation
SE-Net | 0.2896 | 0.0983 | 0.2297 | 0.6650
SK-Net | 0.2838 | 0.0903 | 0.2256 | 0.6776
CBAM | 0.2046 | 0.0503 | 0.1605 | 0.8551
We compare three attention methods, namely SE-Net, SK-Net, and CBAM, in our model. SE-Net captures information across different channels by assigning higher weights to important channels and lower weights to less informative ones. SK-Net uses different kernel sizes to focus on features at different scales, utilizing smaller kernels for finer details and larger kernels for global features. CBAM is an improved version of SE-Net that incorporates both channel and spatial attention. In Table 3, we observe significant performance improvement when using the CBAM attention method.
6.Conclusion
Figure 2(a) shows excellent overall reconstructive performance, with a PCC value of approximately 0.976, indicating a close resemblance to the original signal. This approach proves highly effective for signal reconstruction. In future applications, camera-based rPPG could potentially capture facial blood volume changes, eliminating the need for specialized devices. However, limitations include the need for patient-specific data for fine-tuning the model and challenges in aligning different baseline waveforms due to variations caused by symptoms or noise. Future research should address these limitations and seek solutions in this direction.
Figure 2. Example of Reconstruction ECG
(a)
(b)
2023 NYCU DLP Final Project – Group 11
Reconstructing ECG from Paired PPG using Dual Discriminator SEGAN with Attention Mechanism
Conv1D + GELU: CA
ConvolutionTransposed: CT